A Checklist for Library Building Security

The United States Occupational Safety and Heath adfministration (OSHA) has prepared a very thorough Small Business Handbook to help business employers meet the legal requirements imposed by the Occupational Safety and Health Act of 1970.  Although it contains information not relevant to library operations, there are checklists which will help the library staff ask questions they might never have thought to ask.  The handbook can be accessed at www.osha.gov  -  click on “Publications” then scroll down to “Small Business Handbook.”

action needed

Management of Materials, Property, and Building Contents

- Is cash out of customers’ reach in secured containers (and, if

possible, out of their sight)?

- Are rare items and those of considerable value kept in locked

rooms or cases with alarmed doors or gates?

- Are displays in public areas arranged so that missing items can

be readily noticed?

- Is there a schedule for checking inventory often enough to detect

ongoing theft?

- Are all desks in the building lockable and kept locked?

- Is valuable equipment (e.g., computer terminals and printers)

either bolted to desks or secured in safe places at night?

- Are personal belongings kept in locked areas to which only the

staff has normal access?

action needed

Doors, Keys, and Locks: Entry and Interior Space Control

- Is door security such that no customers should be able to enter or

leave the building undetected?

- Are door locks durable heavy-duty dead bolts in good repair, with

secure hinges that make them difficult to pick or damage?

- Do all entry points to the building have adequate and functioning

alarms?

- Are master keys to the building plainly marked “Do Not Duplicate”

And distributed to as few staff members a practicable?

- Can the library afford break-resistant windows with strong

security locks or alarm systems?

- Are all fire escapes, vents, ducts, and skylights – potential access

points for intrusion - protected in the same manner as doors and

windows?

- If the “walkaround” audit revealed blind spots and “secret places,”

has an attempt been make to get rid of them?

- What are ramifications of not allowing customers to carry bags

and other materials into or out of the building without being

stopped?  This isba privacy issue, but most people will consent to

checking their belongings once they realize that it’s for everyone’s

safety and security, and has the extra bonus of keeping the cost

of library restocking minimal.

- Are designated staff or guards given the responsibility for

inspecting bags and other materials carried into and out of the

building?

- Are doors to all staff areas locked with peepholes drilled into

solid doors?

- Are display cases kept locked?

- Is anything being done to prevent people from loitering or

“hanging out” in rest rooms and private or restricted locations?

- Is the library willing to consider limiting access to rest rooms

(e.g., key access with one person at a time permitted to have

the key)?

- Are staff members not left to work alone on floors or in remote

locations?

- Is it feasible to leave “peepholes” in library stacks by leaving

sections of shelving empty?

- Are all library records securely stored, including lockdown files

and password - only accessible computer programs?

- Is there periodic maintenance and repair of locks, hinges, and

door closers?

- Are emergency exits clearly identified inside and out?

- Does the library have some form of internal communications

system, accessible to all staff?

action needed

Windows

- Are all windows either made of break-resistant glazing panels or

covered with secured grilles or screens to prevent easy break-in?

- Are all ground-level or below ground-level windows key-locked?

- Are all duct openings secured from the inside?

action needed

Barriers/Fencing/Gates

- Is the exterior of the library well lighted after dark with bushes

and shrubbery small enough to prevent hiding?

- Are fences and shrubs placed and trimmed so that they do not

block visibility?

- For the sake of perimeter control, is it possible to avoid or get rid

of hidden locations outside such as weeds, vines, bushes, and

close trees?

- Is it possible to get rid of dark or hidden spots in the library’s

parking lot?

- Do local or campus police patrol on an unpredictable schedule,

both during normal operating hours and at night and on

weekends?

- Are padlocks securely attached to fences or gates, with hinge pins

difficult to remove?

action needed

Lights

Over and over again, studies of crime have shown a positive correlation in public places of lighting with safety.  The more there is of one, the less there is of the other.  Few potential criminals are willing to attempt their deeds in well-lighted places where the risk of being seen and identified is high.  These are questions for the self-examining library to ask concerning the placement, level, and adequacy of lighting within and outside the library building:

- Is there adequate lighting in all public areas of the building?

- Are study areas, carrels, shelving, and stacks arranged for

maximum visibility?

- Are master fuse and lighting panels operated only through key

switches?

- Are fuse and switch boxes kept locked and as vandal-proof as

possible?

- Are all bulbs and fluorescent lighting tubes covered and locked?

- If electrical failure occurs, is there an instant and automatic

power backup system?

- Are emergency lights inaccessible to the public and secured?

- Does the library have a program of periodic testing of all light

fixtures?

- Is there provision for adequate and automatic after-hours security

lighting that is adequate and practical, not just aesthetic?

- Is there periodic review and discussion of changes in lighting due

to building alterations or changes in traffic flow?

- Do all staff understand what to do in the event of a light or power

failure?

- Does the library have a contract for periodic maintenance and

repair of lighting?

action needed

Intrusion and Fire Alarms and Protection

The purpose of most alarms is to alert staff and authorities to emergencies.  It is assumed that fire alarms are required by state or local ordinances for public buildings, but intrusion alarms are expensive systems that the library may wish to get along without.  They are expensive purchases often requiring equally expensive service and maintenance contracts.  Asking yourself these questions will help you decide whether your library needs such alarms.

- Has it been determined that burglar alarms are necessary (e.g.,

the identification of something valuable in need of protection)?

- Does the library’s insurance provider insist upon or give a

discount for intrusion alarms?

- Are silent panic alarms necessary and feasible at entrances and

remote areas?

- Are audiovisual signal alarms necessary to monitor door openings

or pedestrian traffic?

- Are emergency and exit doors provided with alarms?

- Are interior alarms installed on exhibit cases, rare document

displays, and drawers for petty cash?

- Are alarm monitors always secured, tamper-proof, and away from

mainstream traffic?

- Are explicit written instructions on the operation of alarms and

the action to be taken in the event of a problem printed on or

near alarm signaling devices?

- Is a sprinkler system installed?

- It there an adequate system of fire alarm devices?  Does the fire

department generally respond to alarms promptly?

- Are street fire alarm boxes nearby?

- Are adequate fire extinguishers present on all floors?  Are they of

the appropriate type?  Do they get tested and serviced on a

regular basis?

- Are there written procedures for fire alarms, drills, and evacuation,

revised as necessary?

- Are all staff aware of a systematic fire or other emergency

evacuation plan?

- Does the library conduct periodic fire drills?

action needed

Stack Access

Most public libraries provide public access to open stacks.  This is a convenience for the public, permitting browsing and exploration.  It is also a risk for those who use open stacks.  When the library follows an open stack policy, here are some questions to consider:

- How can the library’s physical arrangement be altered for better

surveillance and room and stack monitoring?

- How much surveillance can be achieved by staff from their

desks or workstations?

- What if the best method of floor patrols for stack areas?

- How can surveillance be augmented by staff while shelving and

retrieving?

- Would increased lighting in stack areas help reduce opportunities

for crime?

- Before admitting people to open stacks, should the library

inspect briefcases, packages, and other belongings without

unduly delaying, irritating, or inconveniencing the public?

action needed

Security Gates

Security gates are designed to prevent the disappearance of uncharged books via the front door.  Once installed, they will protect the book stock to a certain extent, but all library staff should be aware that such gates have their obvious limits.  In the first place, it doesn’t require a sophisticated knowledge of electronics for a person to figure out how the magnetization system works and then to defeat it by removing the magnetized strips before attempting to make off with books.  Secondly, books may be removed in others ways, such as being slid under or sailed over the gate’s effective field, or may simply be removed through an unguarded staff entrance, and openable window, or with a cooperating staff member.

A clever thief will sometimes conceal two or more books on his or her person, and when the alarm goes off, sheepishly give up one to reproving library staff, while walking away with the other undetected.  Such gates, moreover, can do nothing to protect most magazines or to ward off mutilation of library materials.

Here is a checklist to follow for libraries using magnetic security gates in the attempt to safeguard their property:

- Are all public exits from the library (except for required fire doors)

gated?

- Is it possible for would-be book thieves to throw books out open

windows?

- Are security gates “on” at all times during normal operating hours?

Are they in proper working order?

- Is the magnetic field of the gate sufficiently sensitive that the alarm

will always go off when an unmagnetized strip passes through it?

- Are the gates tested periodically to ensure that they do not

malfunction?

- Have all books in the permanent collection been fitted with

magnetized strips?

- Are magazines and newspapers magnetized?

- Are circulation and security staff properly trained in the procedure

to follow when the gate alarm goes off?

- Do all staff know what to do when it appears that a patron has

attempted to exit the building with an improperly checked-out

book?